PWSID ME0091090

NEW PORTLAND WATER DISTRICT

2024 Consumer Confidence Report

General Information

Alan Stewart

Water System Contact Name: ______________________________________________________________

P.O. Box 312

Address: ________________________________________________________________________________

Kingfield, Me 04947

City, State, Zip Code: ______________________________________________________________________

207-446-0494 NA kwdist@tdstelme.net

Telephone #: ________________ Fax#: ________________ Email: ______________________________

Report Covering Calendar Year: Jan 1 - Dec 31, 2024

2nd Wednesday of every month

Upcoming Regularly Scheduled Meeting(s): ____________________________________________________

Source Water Information Description of Water Source: Wells: 2

High Yield Sand and Gravel Wells

Water Treatment & Filtration Information:

None

Source Water Assessment:

The sources of drinking water include rivers, lakes, ponds, and wells. As water travels over the surface of the land
 or through the ground, it dissolves naturally occurring minerals and radioactive material and can pick up substances
 resulting from human or animal activity. The Maine Drinking Water Program (DWP) has evaluated all public water
 supplies as part of the Source Water Assessment Program (SWAP). The assessments included geology, hydrology,
 land uses, water testing information, and the extent of land ownership or protection by local ordinance to see how
 likely our drinking water source is to being contaminated by human activities in the future. Assessment results are
available at town offices and public water systems.

Definitions:

Action Level (AL): The concentration of a contaminant that, if exceeded, triggers treatment or other requirements that a water
system must follow.

Locational Running Annual Average (LRAA): A 12 month rolling average of all monthly or quarterly samples at specific
sampling locations. Calculation of the RAA may contain data from the previous year.
Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.
Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or
expected risk to health.

Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is
convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.
Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no
known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial
contaminants.

Running Annual Average (RAA): A 12 month rolling average of all monthly or quarterly samples at all locations. Calculation
of the RAA may contain data from the previous year.

Secondary Maximum Contaminant Level (SMCL): Non-mandatory water quality standards.

Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.

Units:

ppm = parts per million or milligrams per liter (mg/L). pCi/L = picocuries per liter (a measure of radioactivity).
ppb = parts per billion or micrograms per liter (µg/L). ppt = parts per trillion or nanograms per liter (ng/L)
MFL = million fibers per liter. pos = positive samples.

Water Test Results

Contaminant Date Results MCL MCLG Possible Sources of Contamination

Microbiological

COLIFORM (TCR) (9) 2024 0 pos 1 pos/mo or 5% 0 pos Naturally present in the environment.

Inorganics

BARIUM 4/17/2024 0.0025 ppm 2 ppm 2 ppm Discharge of drilling wastes. Discharge from metal

refineries. Erosion of natural deposits.

CHROMIUM 4/17/2024 0.51 ppb 100 ppb 100 ppb Discharge from steel and pulp mills. Erosion of

natural deposits.

NITRATE (6) 4/17/2024 0.27 ppm 10 ppm 10 ppm Runoff from fertilizer use. Leaching from septic

tanks, sewage. Erosion of natural deposits.

Lead/Copper

|  | COPPER 90TH% VALUE (5) 7/1/2024 - 12/31/2024 0.26 ppm Range (0.029-0.48 ppm) Number of sampling sites exceeding the action level: 0 |  | AL = 1.3 ppm 1.3 ppm Corrosion of household plumbing systems. |  |  |
| --- | --- | --- | --- | --- | --- |
|  | LEAD 90TH% VALUE (5) 7/1/2024 - 12/31/2024 5.3 ppb Range (0.74-630 ppb) |  |  |  | AL = 15 ppb 0 ppb Corrosion of household plumbing systems. |

Number of sampling sites exceeding the action level: 4 Complete lead tap sampling data are available upon request

Notes:

1) Arsenic: While your drinking water may meet EPA's standard for Arsenic, if it contains between 5 to 10 ppb you should know that the standard balances the
current understanding of arsenic's possible health effects against the costs of removing it from drinking water. EPA continues to research the health effects of low
levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and
circulatory problems. Quarterly compliance is based on running annual average.

2) E. coli: E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can
 cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the
 elderly, and people with severely-compromised immune systems.

3) Fluoride: For those systems that fluoridate, fluoride levels must be maintained between 0.5 to 1.2 ppm. The optimum level is 0.7 ppm.
4) Gross Alpha: Action level over 5 pCi/L requires testing for Radium 226 and 228. Action level over 15 pCi/L requires testing for Uranium. Compliance is
based on Gross Alpha results minus Uranium results = Net Gross Alpha.

5) Lead/Copper: Action levels (AL) are measured at consumer’s tap. 90% of the tests must be equal to or below the action level.
 6) Nitrate: Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can
 cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant you
 should ask advice from your health provider.

7) PFAS: The degree of risk depends on the level of chemicals and duration of exposure. Laboratory studies of animals exposed to high doses of PFAS have
 shown numerous negative effects such as issues with reproduction, growth and development, thyroid function, immune system, neurology, as well as injury to the
liver. Research is still relatively new, and more needs to be done to fully assess exposure effects on the human body.

8) Radon: The State of Maine adopted a Maximum Exposure Guideline (MEG) for Radon in drinking water at 4000 pCi/L, effective 1/1/07. If Radon exceeds
the MEG in water, treatment is recommended. It is also advisable to test indoor air for Radon.

9) Total Coliform Bacteria: Reported as the highest monthly number of positive samples, for water systems that take less than 40 samples per month.
 10) TTHM/HAA5: Total Trihalomethanes and Haloacetic Acids (TTHM and HAA5) are formed as a by-product of drinking water chlorination. This chemical
 reaction occurs when chlorine combines with naturally occurring organic matter in water. Compliance is based on LRAA.
 11) Turbidity: Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may
 indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps,
 diarrhea and associated headaches.

All other regulated drinking water contaminants were below detection levels.

Secondary Contaminants

CHLORIDE 56 ppm 4/17/2024

MAGNESIUM 4.3 ppm 4/17/2024

SODIUM 23 ppm 4/17/2024

ZINC 0.055 ppm 4/17/2024

SULFATE 6 ppm 4/17/2024

Health Information

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some
contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk.
Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial

processes and petroleum production and can also come from gas stations, urban runoff, and septic systems.

Radioactive Contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-
 compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ
transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly
 at risk from infections. These people should seek advice about drinking water from their health care providers.
 EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial
 contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791) or at the following link:

https://www.epa.gov/ccr/forms/contact-us-about-consumer-confidence-reports

Lead and Copper

Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water
 is primarily from materials and components associated with service lines and home plumbing. Your public water
 system is responsible for providing high quality drinking water and removing lead pipes, but cannot control the
 variety of materials used in plumbing components in your home. You share the responsibility for protecting
 yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and
 removing lead materials within your home plumbing and taking steps to reduce your family's risk. Before drinking
 tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of
 dishes. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce
lead in drinking water. If you are concerned about lead in your water and wish to have your water tested, contact
 your public water system. Information on lead in drinking water, testing methods, and steps you can take to
 minimize exposure is available at: http://www.epa.gov/safewater/lead

Our system completed a Lead Service Line Inventory as required by the Revised Lead and Copper Rule. It is publicly available by calling 207-446-0494 or emailing kwdist@tdstelme.net

Violations

Violation Period Violation Type

1/1/2024 - 6/30/2024 SE Violation - STATE EXCEEDANCE LEAD SUMMARY

Lead & Copper Action Level Exceedance: In 2024, routine sampling detected (lead/copper) in excess of the maximum level
 allowed. ONE out of 5 sites sampled, exceeded the action level for (lead/copper). Drinking water regulations
 require that samples are taken from homes with a high risk potential for lead/copper in the plumbing. The following were
 action steps we were required to take and the dates those actions were completed: Distribute public lead/copper education
material to all residents on September 19th. Submit a corrosion control plan to the State Drinking Water Program on Sept 18th.

Our plan we submitted to reduce the corrosivity of the water involves customer education and

encouragement to have old lead based plumbing updated. We have to fully implement/complete our plan if Lead levels continue

to exceed MCL’s. Lead/copper sampling is on going and will continue at frequencies dictated by the Maine Drinking Water Program.

Results of subsequent future lead/copper testing will be  made available to all residents. Lead Health Effects: Exposure to

lead in drinking water can cause serious health effects in  all age groups. Infants and children can have decreases in IQ and

attention span. Lead exposure can lead to new learning  and behavior problems or exacerbate existing learning and behavior problems.

The children of women who are exposed to  lead before or during pregnancy can have increased risk of these adverse health effects.

Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Infants and children

who drink water containing  lead in excess of the action level could experience delays in their physical or mental development.

Children could show  slight deficits in attention span and learning abilities. Adults who drink this water over many years

could develop kidney  problems or high blood pressure. Copper Health Effects: Copper is an essential nutrient, but some people

who drink water  containing copper in excess of the action level over a relatively short time could experience gastrointestinal distress,

or  suffer liver or kidney damage. People with Wilson's Disease should consult their doctor.

Waiver Information (to be included in the CCR for systems that were granted a waiver)

In 2022, our system was granted a 'Synthetic Organics Waiver.' This is a three year exemption from the
monitoring/reporting requirements for the following industrial chemical(s): TOXAPHENE/CHLORDANE/PCB,
HERBICIDES, CARBAMATE PESTICIDES, SEMIVOLATILE ORGANICS. This waiver was granted due to
the absence of these potential sources of contamination within a half mile radius of the water source(s).